## Sheet1
The purpose of this register is to record incidents that have been reported to the Office of the Technical Regulator in accordance with the OTR Water and Sewerage Infrastructure Incident Notification and Communication Protocol for Minor and Intermediate Water Industry Entities. This incident register should be attached to the annual internal audit checklist form on an annual basis.
Incident date and time | Level and catergory | Reported to OTR? | Scheme | Location | description and action taken | Logged by | Link to incident internal record
2023-07-01 21:10 | Level 2 - Security breach of any kind which has an actual or potential effect on operations and/or service provision. | Yes - email 2/7 12:05 | Watertown | Water Street | On call officer recieved a call from a resident claiming a person was on top of the Water Street treated water supply tank acting strangely. Officer went to investigate, but could not locate anyone. However the tank access hatch had been opened. Due to the potential that something may have been dropped into the tank, security camera footage was viewed immediately and DHW phoned to report the incident. The footage showed that nothing had been dropped into the water and with discussion with DHW was assessed to be safe with no further immediate action required. New padlocks will be fitted later today and security footage given to SAPOL. A team meeting will be held later this week to determine if addition remedial actions are required. | T Brown | D2023:10225
2023-08-03 09:35 | Level 2 - Infrastructure failure/damage where service to customers is unaffected, but significant repairs or extensive corrective work is required. | Yes - email 3/8 16:05 | Point Buttin WWTP | Point Buttin WWTP | During routine inspection of the plant it was observed that a large crack had formed overnight down the side of SBR tank 1. The tank was immediately taken offline and an engineer engaged to assess the integrity of the tank. It was determined that the tank requires immediate replacement. Due to it currently being low season there is sufficient capacity for the second SBR tank to treat 100% of the influent, so there is no impact on customers at this time. | M Ford | D2023:11002