ELECTRIC SHOCK AND/OR INCIDENT REPORT

for the Office of the Technical Regulator

| VICTIM—Name |  | Phone No |  |
| --- | --- | --- | --- |
| Address |  |
| Occupation |  | Injuries received |  |
| Location of medical treatment if obtained |  |

| INCIDENT SITE—Occupiers name |  |
| --- | --- |
| Address |  |
| Incident date |  | Phone No |  | Fax No |  | SAHT property Yes ( No ( |
| Reported to network operator by |  | Date |  | Time |  |
| Reported to OTR by |  | Date |  | Time |  |

| INCIDENT DETAILS Location—e.g. bathroom, kitchen |  |
| --- | --- |
| What was contacted for the shock current to enter and leave the victim—e.g. tap & bath |  |
| Where did the current enter and leave the body—e.g. left hand to right foot |  |
| Please describe how the shock was received |

| TEST RESULTS |
| --- |
| Voltage measured between the surfaces contacted which caused the shock current to pass to the victim. |
| 1. on arrival | volts | 2. after remedy | volts | System voltage | volts |
| Test instruments e.g. Analogue voltmeter, manufacturer, model. |

| PRODUCT OR EQUIPMENT INVOLVED |
| --- |
| Article | Trade name | Model | Approval No. | Insulation ( | Earth ( |
| Property damage details |

| INVESTIGATION |
| --- |
| Cause of incident identified as |  |
| Action taken to make safe |  |
| Job referred to—e.g. Network operator to check service |  |

| INVESTIGATORS—Name |
| --- |
| Electrical Workers Reg No |  | Phone No |  | Fax No |  |
| Employer |  |
| Address |  |
| Date/s of investigation |  | Person compiling report |  |
| Signature |  | Title |  | Date |  |
| OTR USE | Voltage measured between the surfaces contacted which caused the shock current to pass to the victim. |
| 1. on arrival volts with a kW / Amps load (1 phase) in the neutral/earth conductor |
| 2. after remedy volts with a kW / Amps load (1 phase) in the neutral/earth conductor |

CODE  REFERENCES  Please tick only one answer in each of the 4 sections

| 1. LOCATION | Tick one |
| --- | --- |
| L1 | HOME |  |
| L2 | WORKPLACE |  |

| 2. VICTIM | Tick one |
| --- | --- |
| V1 | SUPPLY INDUSTRY WORKER |  |
| V2 | ELECTRICAL WORKER – LICENSED |  |
| V3 | NON ELECTRICAL WORKER – OTHER TRADE |  |
| V4 | GENERAL PUBLIC |  |

| 3. CAUSE | Tick one |
| --- | --- |
| C1 | FAILURE / DETERIORATION |  |
| C2 | MISUSE / INTERFERENCE - DELIBERATE |  |
| C3 | MISUSE / INTERFERENCE - ACCIDENT |  |
| C4 | ELECTRICAL WORKER – WORK PRACTICE |  |
| C5 | OTHER |  |

| 4. INSTALLATION | Tick one |
| --- | --- |
| ELECTRICITY DISTRIBUTOR |  |
| Da | OVERHEAD LINE – FIXED |  |
| Db | OVERHEAD – FALLEN |  |
| Dc | UNDERGROUND LINE – FIXED |  |
| Dd | SUBSTATION |  |
| De1 | CONSUMERS SERVICE – OVERHEAD FIXED |  |
| De2 | CONSUMERS SERVICE – OVERHEAD FALLEN |  |
| De3 | CONSUMERS SERVICE - UNDERGROUND |  |
| Df | OTHER |  |
| CONSUMER INSTALLATION |  |
| CIa | INSTALLATION WIRING |  |
| CIb | FIXED EQUIPMENT |  |
| CIc | OTHER |  |
| CONSUMER EQUIPMENT |  |
| CEa | FLEXIBLE CORDS & ACCESSORIES |  |
| CEb | APPLIANCES / PLUG IN EQUIPMENT / LAMP |  |
| CEc | OTHER |  |
| OTHER |  |
| Oa | GENERATORS / INVERTERS |  |
| Ob | OTHER |  |

| 5. SAFETY PROTECTION | Tick one |
| --- | --- |
| S1 | RCD PROTECTION PROVIDED |  |
| S2 | RCD PROTECTION COULD HAVE REDUCED THE EFFECTS OF THE ELECTRIC SHOCK |  |
| S3 | OTHER |  |

OTR USE ONLY

| Checked by |  | Date |  | Entered into sparky |  | C |
| --- | --- | --- | --- | --- | --- | --- |
| CODE | L | V | C | D/C/O | S |

Please answer the following questions:

When did the injured person start the activity and/or join the project?

What was the injured person’s responsibility on this project?

What was the injured person doing?

Who had assigned the injured person to the task?

Who had instructed the injured person & what instruction was given?

What tools, machinery, plant or equipment were being used?

What did the injured person and/or any witnesses see that was unsafe?

When was something first observed to be wrong & who was notified?

Who authorised and energised the device which caused the electric shock?

Who witnessed the accident, events leading up to the accident, or was working with the injured person? (e.g. workmates, other contractors, clients etc.)

Why was the item not de-energised, shutdown completely or otherwise made safe?

Why did the injury occur?

When did the supervisor last see the injured person, & was the supervisor notified when things started to go wrong?

What action has been taken to prevent any recurrence?

What other near misses or similar accidents have occurred?

What safety rules, regulations or work practices apply to the task being performed?

How would the injured person have known that the item was “live” or “dangerous”?

Was personal protective equipment (PPE) provided? and used? What PPE was used?

FOR YOUR INFORMATION

Extract from the Electricity Act 1996

63—Reporting of accidents etc

(1)	If an accident involving or associated with any electricity infrastructure, electrical installation or electrical equipment results in electric shock, electrical burns or a prescribed fire the accident must be reported as required under the regulations—

(a)	if the accident involves part of an electricity entity's infrastructure—by the electricity entity; or

(b)	if the accident happens while an electrical worker is working on an electrical installation or equipment and the electrical worker is able to make the report—by the electrical worker; or

(c)	in any other case—by the occupier of the place in which the accident happens.

Maximum penalty: $5 000.

Expiation fee: $315.

(2)	Despite subsection (1)(c), an occupier is not required to report an accident that results in a prescribed fire.

(3)	For the purposes of an investigation of an accident of a kind referred to in subsection (1), the Technical Regulator may prohibit, restrict or regulate access to any infrastructure, installation or equipment involved in or associated with the accident.

(4)	A person must not alter or interfere with—

(a)	any infrastructure, installation or equipment involved in or associated with an accident of a kind referred to in subsection (1); or

(b)	anything prohibiting, restricting or regulating access to any such infrastructure, installation or equipment.

Maximum penalty: $10 000.

Expiation fee: $315.

(5)	Despite subsections (3) and (4), a person may alter or interfere with the infrastructure, installation or equipment or anything prohibiting, restricting or regulating access to it—

(a)	if to do so is necessary to—

(i)	maintain the integrity of a network; or

(ii)	avert an immediate and serious danger to a person or property; or

(b)	with the approval of the Technical Regulator.

(6)	In this section—

prescribed fire means a fire that involves the attendance of an officer (including a volunteer officer) or employee of an emergency services organisation within the meaning of the Fire and Emergency Services Act 2005.

Extract from the Electricity (General) Regulations 2012

Division 4—Reporting and investigation of accidents

70—Reporting of accidents

(1)	For the purposes of section 63 of the Act, a report must be made to the Technical Regulator of the details of the accident—

(a)	in the case of a death resulting from the accident—immediately by telephone;

(b)	in the case of a person requiring medical assistance resulting from the accident—within 1 working day of the accident;

(c)	in any other case—within 10 working days of the accident.

(2)	An electricity entity or person who is required to report an accident in accordance with section 63 of the Act must provide the Technical Regulator with such further details of the accident as the Technical Regulator reasonably requires.

(3)	An electricity entity that operates a transmission or distribution network must—

(a)	promptly investigate any accident that involves electric shock or electrical burns that may have been caused by the operation or condition of the transmission or distribution network or an electrical installation connected to the network and report the results of the investigation to the Technical Regulator in the form, and containing the details, required by the Technical Regulator; and

(b)	comply with any direction given by the Technical Regulator relating to the investigation of an accident to which section 63 of the Act relates, including a direction to conduct such examinations and tests as are required by the Technical Regulator.

(4)	If in the course of an investigation under subregulation (3) it is determined that the electric shock or electrical burns were caused by an electrical installation connected to the network, the electricity entity must report that result to the Technical Regulator and need not proceed further with the investigation.